| PROCEDURE TITLE: | Who Grows There Outreach Practical |
| --- | --- |

| Ethics Approval YES NO | Home Office Licence YES NO |  |
| --- | --- | --- |
| Reference No: | Home Office No: | Other: |
| Further information must be provided in the appropriate section within the BioCOSHH part of this form. |  |  |

| Name and status of assessor: Dr Emma Chapman (Technician) | I consider that all precautions listed are adequate and reduce risks to an acceptable level |  |  |
| --- | --- | --- | --- |
|  | Signature: |  | Date: 14.06.22 |
| Head of Group (Authorisation): Dr Katharine Hubbard | I am satisfied that the risk assessment completed is suitable and sufficient |  |  |
|  | Signature: |  | Review Date: June 2023 |
| School/Departmental Safety Officer University Biological Hazards Officer | I have seen this assessment |  |  |
|  | Countersignature: |  | Date: 14/6/22 |
| Location(s): 2nd and 3rd floor labs, Hardy Building |  |  |  |
| Who might be affected: Staff Undergraduate Students Postgraduate Students Cleaners Maintenance Contractors Visitors General Public Young Persons (<18 yrs) Elderly New and expectant mothers Immune-compromised Persons Other: |  |  |  |
| Risk to pregnancy: Yes No | Lone Working permitted: Yes No | Out of hours permitted: Yes No |  |

PROCEDURE DESCRIPTION Technical Summary outlining the Procedure being followed

Corresponding Detailed Protocol/SOP Reference No: (Where currently not available must be provided within 3 months of the approved date)

This schools practical includes the following activities: - Visual inspection of bacteria cultured from human skin samples on cUTI agar plates (plates set up in advance by technicians) - Gel electrophoresis and imaging of a pre-prepared PCR sample (gel tanks set up in advance by technicians) - Demonstration of genomic sequencing methods (MinION) - Bioinformatic analysis of sequencing results Detailed protocols are available at: Who Grows There Practical Manual All school visitors will be fully supervised by a member of staff/postdoctoral researcher and trained demonstrators. We will provide lab coats, gloves and safety specs.

| RISK RATING |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| L = Likelihood of event occurring | Rare = 1 | Unlikely = 2 | Possible = 3 | Likely = 4 | Almost certain = 5 |
| C = Consequences of event occurring | Insignificant = 1 | Minor = 2 | Moderate = 3 | Major = 4 | Catastrophic = 5 |

| EQUIPMENT |  |  |  |  |
| --- | --- | --- | --- | --- |
| Equipment used | How might someone be harmed? | RISK (L X C) | Control Measures | Residual RISK (L X C) |
| Pipettes | - Potential strain through repetitive movement | 3x3=9 | Make sure you have regular breaks when pipetting many samples | 1x3=3 |
| Electrophoresis tank and power pack | - Danger of electrocution when using electricity and liquid containing tanks. - Tank may get warm and boil dry if left on for too long. - Gel may melt if voltage is too high. - Risk of electrocution | 3x5=15 | - Never fill the tank above the maximum fill line - Never run without buffer in the tank - Never operate power pack with wet hands. - Ensure tank is used at an appropriate voltage i.e.70v. - Always turn off after use - Check to confirm a current PAT test before use - Perform a visual check of plugs and leads before use | 1x5=5 |
| MinION genomic sequencer (demonstration) | ### Risk of electrocution (MinION Mk1C) | 2x5=5 | - Check to confirm a current PAT test before use | 1x5=5 |

| CHEMICAL SUBSTANCES Take note of Concentration and Volumes of Chemicals Used e.g. stock versus working diluted concentrations |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Substance Name | Quantity Used | WEL Value | Hazardous Properties (Incl. form/route of entry) | Risk (L x C) | Control Measures | Residual Risk (L x C) | Waste Disposal | Emergency Action in the Event of Spillage/Exposure |
| Bacteria cultured from human skin samples growing on cUTI agar plates | 2 plates per group | N/A | - Route of entry: ingestion - Harmful if swallowed - Unknown species so should be treated as potentially hazardous to human health | 2x4=6 | - Wear nitrile gloves to prevent skin contact - Do not ingest - Wash hands thoroughly after handling bacteria | 1x4=3 | All waste must be autoclaved | Spills: wipe with blue roll which should be autoclaved. Clean area with ethanol or bleach. Fire: Use firefighting measures that suit the environment. |
| Agarose gel electrophoresis |  |  |  |  |  |  |  |  |
| Agarose | 500g stock <1g used per gel | N/A | - Powder - Route of entry: Inhalation/Ingestion - Not classified as a hazardous substance | 3x2=6 | - Avoid dust formation and avoid breathing any dust by weighing on a glass-enclosed balance - Do not ingest | 2x2=4 | In a gel: clinical waste | Spillage: General waste. Avoid inhaling dust. Fire: measures appropriate to local environment |
| 10X Sodium Borate Buffer (Sodium Borate Buffer) | 4L stock. 100ml diluted with 900ml H2O to make 1X TBE buffer | N/A | - Liquid. - Route of entry: skin and eyes - MAY DAMAGE FERTILITY - MAY DAMAGE THE UNBORN CHILD - May cause eye irritation | 3x3=9 | - Carry out a separate risk assessment for pregnant women - Wear lab coat and nitrile gloves to avoid contact with skin - Pour carefully and wear safety specs to avoid splashes and contact with eyes | 2x3=6 | In gel (as 1X buffer): clinical waste | Spillage: soak up with inert absorbent material Fire: Use water spray, alcohol-resistant foam, dry chemical or carbon dioxide. |
| Gel Red Stain | 2-8ul used per gel | N/A | - State: Liquid - Route of entry: skin, eyes, inhalation, ingestion - May cause irritation to skin, eyes, and respiratory tract - Harmful if swallowed. - Cannot penetrate cell membranes however still TREAT AS A POTENTIAL MUTAGEN | 3x2=6 | - Avoid contact with skin and eyes by wearing nitrile gloves and pipetting carefully and wearing safety spectacles. - Use in well ventilated area and avoid breathing any vapour - Do not ingest - Treat as potential mutagen - Carry out a separate risk assessment for pregnant women as a precaution | 2x2=4 | In gel: clinical waste | Spillage: soak up with inert absorbent material. Dispose of via bin in gel room Fire: measures appropriate to local environment |
| 6x Loading Dye | 2ul per sample | N/A | - Liquid - Not classified as a hazardous or dangerous substance | 2x1=2 | - Wear lab coat and nitrile gloves to avoid contact with skin as it may stain | 2x1=2 | In gel: clinical waste | Spillage: soak up with inert absorbent material Fire: measures appropriate to local environment |
| DNA Ladder | ~10ul used per gel | N/A | - Liquid - Not classified as a hazardous or dangerous substance | 2x1=2 | - Wear lab coat and nitrile gloves to avoid contact with skin as it may stain | 2x1=2 | In gel: clinical waste | Spillage: soak up with inert absorbent material Fire: measures appropriate to local environment |

Add more lines if required

| BIOLOGICAL SUBSTANCES |  |  |  |  |  |  |  |  |  | NO Biological Substances Used |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Biological Agents or Hazards | Human Cells Tissue/body parts Primary cell culture Continuous cell culture Blood Human excretions/fluids Patient contact | Animal Cells Tissue/body parts Primary cell culture Continuous cell culture Blood Animal excretions/fluids Animal contact |  |  | Microorganism Pathogens listed by ACDP/DEFRA as Hazard Group 1 Hazard Group 2 Hazard Group 3 | Not Listed by ACDP/DEFRA Unknown |  |  | Other Plants Soil Toxins Carcinogens Allergen DNA Other: Bakers Yeast |  |
|  | Genetic Modified Organism Lentiviral Transfection |  |  |  | Genetic Modified Microorganism |  |  |  | Unknown Biological Hazards |  |
|  |  |  |  |  |  |  |  |  | No known Biological Hazards |  |
| Description, include species, cell line or technical name | Unknown bacteria sampled from human skin samples |  |  |  |  |  |  |  |  |  |
| Source | Unknown Isolated in own Laboratory |  | Provided by: Purchased from BioRad Purchased from: Collection Site: |  |  |  |  |  |  |  |
| Quantity/Scale | Small Medium Large |  |  | Risk if maximum quantity used |  |  | Negligible Low Medium High |  |  |  |
| Exposure Route | Inhalation (Airborn) Ingestion Splash in eyes or mouth Percutaneous (Skin) Animal bite or scratch Other: |  |  |  |  |  |  |  |  |  |
| Exposure frequency | Daily Weekly Monthly Other: |  |  |  | Potential of exposure |  |  | Negligible Low Medium High |  |  |
| Risk of Aerosol or Airborne Particle formation | Negligible Low Medium High |  |  |  |  |  |  |  |  |  |

| Risk to Human Health | Effectively Zero Low Medium High Disease or Condition that might be caused upon exposure (specify): |
| --- | --- |
| Health Surveillance | Not required Only required upon exposure to risk (incident/accident) Required |
| Effective Treatment | Do not know if available Not available Available (specify): |
| Immunisation and Prophylaxis | Not available Not required Optional Essential Other: |
| Risk to Animal Health | Effectively Zero Low Medium High Disease or Condition that might be caused upon exposure (describe if applicable): Effective treatment available: No Yes (specify): |
| Risk to the Environment | Effectively Zero Low Medium/Low Medium High Possible hazards/risks/damage to the Environment (describe if applicable): Effective remediation available? No Yes (specify): |
| Facility | Laboratory Animal Facility Plant Facility Microbiological Containment Facility Other: |
| Containment Level | No containment required Containment Level 1 (CL1) Containment Level 2 (CL2) Containment Level 3 (CL3) |
| Biosafety Cabinet | No biosafety cabinet required Class 1 Class 2 Class 3 |

| Other Controls | Spill tray Physical barrier to contain splashing Tubes secured with cap to contain aerosols Secondary containment Sharps not permitted Other (specify): Not applicable |  |
| --- | --- | --- |
| Long-Term Storage (>24 hours) | No storage required Locked Storage Cupboard Refrigerator -20°C Freezer -80°C Freezer Liquid Nitrogen Incubator Other: |  |
| Transport | Allowed, if appropriate containment is used to avoid accidental release during transport Specify containment: Transport according to Dangerous Goods Classification: Transport only allowed with HSE consent/Environmental Agency/DEFRA license License Number or Consent Letter (specify): Other: No transport required |  |
| Inactivation | Chemical inactivation Autoclaving (heat inactivation) Incineration (heat inactivation) Fumigation |  |
| Disinfection | Surfaces | 70% Ethanol 1% (w/v) Virkon solution 10% (v/v) Trigene/Distel solution Clinell sanitising wipes Other: |
|  | Hand wash | Lab Guard microbial soap Other: |
|  | Spills | Virkon powder Other: 70% ethanol |
|  | Water bath | Aquaresist Other: Water baths will be emptied at the end of the practical |
| Waste Disposal | Clinical waste Autoclaved waste Landfill waste Sink Disposal after effective inactivation Other: |  |
| Instruction, Training and Supervision | Appropriate Instruction required regarding Biological Safety, including appropriate Standard Operating Procedures (SOP) Basic training required Specialist training required Constant supervision required Add details: |  |

| Consent or License from DEFRA, EA, DEFRA, HSE or Home Office | Not required Required/obligatory, provide HSE consent/DEFRA license number and details: |
| --- | --- |
| Emergency Procedure(s) | No special requirements for the used biological substances Required (describe): |

SAFE WORKING PROCEDURE

- Wear suitable protective clothing, laboratory coat, gloves and eye protection where required - Strictly follow procedure protocol as described in Protocol/SOP Ref:

FIRST AID

Basic First Aid

If skin contact occurs, wash off in running cold water for 10 minutes If chemical ingested, rinse out mouth with cold water and spit out If eye contact occurs, irrigate with cold water for 10 minutes Contact a University first aider

Specific First Aid (if different from above as a result of the risk assessment & COSHH requirements)

| EMERGENCY CONTACTS Please use emergency contacts in the order shown below. If you are unable to reach the first person on the list, contact the next person, etcetera. |  |  |  |
| --- | --- | --- | --- |
| Role | Name | Telephone Numbers |  |
| Supervisor | Dr Katharine Hubbard | 01482 462347 |  |
| Departmental/School Safety Officer | Jennie Brigham (FoSE) Sonia Jennings (FoSE) Rob Donnelly (BMS Labs) Rose Terschak (GEE) | 5519 5518 6213 2344 |  |
| University Biological Hazards Officer | Frank Voncken | 5280 |  |
| University Laser Hazards Officer | Howard Snelling | 5690 |  |
| University Radiation Hazards Officer | Tim Coldwell | 6992 |  |
| Health and Safety Service | Secretary Alan Hewett Tim Coldwell Jonathan Grainger | 5165 6571 6992 5785 |  |
| University Hull Campus | Emergency Call Centre | 5555 | Castle Hill/Daisy Emergency Call Centre is 4444 |

| USER AGREEMENT & AUTHORISATION |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| User signatures - indicate that you agree to abide by the recommendations indicated above, and have read and understood the associated standard operating procedures where these are referred to. Supervisor signatures - confirm user has received adequate training in procedure indicated above. |  |  |  |  |  |
| Name (Block capitals) | Signature | Date | Supervisor Name | Signature | Date |